Development of control components for small-scale wind turbines

Nikolai Tsybov 1, Zhalalidin Galbaev 1, Samat Umetaliev 1, Buboaisha Bekjanova1, Eldar Usmanov2, a

1 Kyrgyz State Technical University N. A. I. Razzakov, Bishkek, Kyrgyz Republic

2 Tashkent state technical university named after Islam Karimov, Tashkent, Uzbekistan

a) Corresponding author: eldorgu777@gmail.com

Abstract. Amidst the rapid growth of energy-intensive industrial production and the need to address environmental issues associated with the use of traditional energy sources such as oil, gas, and coal, the global community is paying particular attention to alternative renewable energy sources. Wind energy is one such environmentally friendly source. The objective of this study was to develop control elements and devices for a low-power wind turbine. A 3.5 kW vertical-axis wind turbine was used as the experimental setup. Through experimental modeling of control modules for the low-power wind turbine, the main control components for the wind turbine (WT) were developed.

INTRODUCTION

The challenging global environmental situation and the depletion of oil, gas, and coal reserves are accelerating the development of renewable energy sources.

According to research into the Kyrgyz Republic's energy sector conducted by Unison Group specialists in 2022, Kyrgyzstan's total hydropower potential is 142.5 billion kWh, ranking third in the CIS. Kyrgyzstan's climatic conditions provide opportunities for solar, wind, hydroelectric, and biomass energy production [1].

Wind energy is one of the promising renewable energy sources in Kyrgyzstan. The latest stage of wind energy development is characterized by renewed interest in small-capacity wind turbines, the market for which has expanded due to the growing number of farms and cottage properties, as well as other hard-to-reach agricultural facilities.

Low-capacity wind energy in Kyrgyzstan is primarily in demand for facilities located in the country's mountainous regions. Kyrgyzstan's mountainous regions are characterized by constantly changing wind directions. For such mountainous regions, low-power wind turbines (WTs) with a vertical axis of rotation, which can operate in any wind direction, are of particular interest [2, 3].

The advantages of vertical wind turbines (WTs) also include the ability to install the turbine equipment closer to the ground, simplifying equipment installation and maintenance [4].

Vertical WTs are more environmentally friendly and generate less noise in high winds. Unlike horizontal-axis wind turbines, vertical WTs do not require wind direction sensing devices, such as additional electric motors and gearboxes for rotor movement. Consequently, WT controllers for vertical WTs do not require complex circuit design [5-8].

A distinctive feature of vertical WTs is the ability to position them much closer to one another, unlike horizontal WTs, which impose strict requirements for the absence of airflow interference during operation.

The most pressing challenges in the design of vertical WTs are the development of WT control systems, as well as the analysis and research of methods for increasing wind turbine performance.

EXPERIMENTAL RESEARCH

Let's consider the control systems for the operating modes of a vertical-axis wind turbine using a 3.5 kW wind turbine as an example.

The main components of a vertical-axis wind turbine control system are:

– a 3-phase rectifier;

– a charge controller that charges and protects the batteries;

– an inverter that converts the DC voltage of the batteries to AC voltage of 220 V 50 Hz.

Let's consider the operating features of a low-power wind turbine using a 3.5 kW vertical-axis wind turbine as an example [9].

Designing a 3-phase rectifier.

When designing a rectifier, Schottky diodes are typically used, which have a low voltage drop across the open          p-n junction. At a power of 3.5 kW and a wind turbine output voltage of 24 V, the output voltage of a rectifier designed using the Larionov design will be 2.34 times higher than 24 V, or 56 V. Taking into account the drop across the rectifier diodes, the output voltage will be 54 V. The average load current will be:

A

In this case, the pulse current required by the charge controller, which will come from the rectifier taking into account the efficiency of the system (0.8–0.9) rectifier – controller – inverter will be:

A

Where IPC – is the rectifier's pulse current, P – is the rectifier's power, U – is the rectifier's output voltage, and EK – is the efficiency of the entire system (rectifier, charge controller, inverter).

Therefore, for a rectifier power of 3.5 kW, it is advisable to use MPRH200200R Schottky diodes with an on-state current of 200 A and an allowable reverse voltage of 200 V.

Designing a charge controller with wind turbine component protection functions.

A battery charge controller (BCC) enables battery charging while simultaneously providing the rated load current.

A controller for a low-power 3.5 kW wind turbine (WT) must perform the following functions:

Charging batteries with a current level acceptable for safe charging (20-30% of the total battery capacity) [10-12].

Protecting the WT from storm winds of 25 m/sec.

Protecting the rectifier from unacceptably high output voltage.

Protecting batteries from unacceptable overcharging (up to 28 V) and unacceptable underdischarging (up to 24.5 V).

When overcharging batteries or in emergency situations involving storm winds, disconnect the batteries and connect ballast resistors.

It's advisable to base the design of a low-power wind turbine controller on a current stabilizer that regulates a set current using a pulse-width modulator with two negative feedback loops: a charging current feedback loop and a battery voltage feedback loop.

The negative current feedback loop maintains the set battery charging current, while the negative voltage feedback loop controls the maximum permissible battery charging voltage.

The charge controller's circuit diagram is shown in Figure 1.

The charge controller operates as follows:

In the absence of an emergency situation, such as a storm, and therefore no unacceptably high voltage at the output of the three-phase rectifier, a voltage of 30 V to 95 V is supplied to the charge controller input, depending on the wind strength.

If the batteries are in charging mode (battery voltage is between 24.5 V and 27.5 V), the charge controller charges the batteries with a maximum current of 160 A.

The charge controller's pulse-width modulation (PWM) signals are generated by the integrated UC 3842 PWM controller (pulse-width modulation controller). The block diagram of the UC 3842 PWM controller is shown in Figure 2. The UC 3842 PWM controller has two negative feedback inputs.

FIGURE 1. Battery charge controller

The negative current feedback signal is fed to input 3 of the UC 3842 PWM controller, and the negative voltage feedback signal is fed to input 2 of the PWM controller.

Input 2 of the UC 3842 PWM controller is the inverting input of the UC3842 error amplifier, whose non-inverting input is fed a 2.5 V reference voltage (see Figure 2). Therefore, the error amplifier monitors the negative voltage feedback signal, comparing it to the 2.5 V threshold voltage.

The negative voltage feedback signal is taken from the positive terminal of the battery and fed through the R4-R5 voltage divider and resistor R10 to input 2 of the UC3842 PWM controller. It is then compared with the 2.5 V voltage supplied to the non-inverting input of the UC 3842 error amplifier from the reference voltage source.

The charging process occurs at an operating voltage of 24.5 V to 27.5 V on the batteries.

The parameters of the wind turbine control system components are calculated as follows.

The charge controller's pulse width modulation frequency is determined by the ratio of capacitor C1 to resistor R12 (see Fig. 1). With a capacitance of 8.2 nF and a resistor of 10 kOhm, the pulse width modulation frequency will be 20 kHz. Capacitors C4, C5, C6, and C7 are included in the circuit to ensure noise immunity for the UC 3842 PWM controller.

Capacitor C4 is installed at the output of the error amplifier (pin 1 of the UC 3842). The error amplifier current is limited to 1 mA, and the maximum voltage at its output does not exceed the reference voltage of 5 V. Therefore, the output impedance of the error amplifier is:

k Om,

Where R – is the error amplifier output resistance; U – is the reference voltage; and I – is the error amplifier current.

FIGURE 2. Block diagram of the PWM controller UC3842

With the UC 3842 PWM controller operating at 20 kHz, the oscillation period is 50 µs. The value of the capacitor C4 can then be determined from the expression:

nF

Where: – is the time constant (sec), and R – is the error amplifier output resistance (ohms).

The values ​​of the C5 and C7  filters, connected to the UC 3842 PWM controller's voltage feedback input (input 2) and current feedback input (input 3), are selected during system setup. In this particular design, the filter value is 470 pF.

The value of C6, 100 nF, connected to the reference voltage source output (pin 8), is selected according to the recommendations in the UC 3842 datasheet.

Capacitors C8 = 1 µF and C10 = 0.33 µF at the input and output of the LM7820 integrated voltage regulator are installed in accordance with the chip's data sheet.

The smoothing choke's inductance is found from the expression:

mk Gn,

Where LCV – is the minimum critical inductance value; UOUT – is the maximum output voltage on the batteries; D = 0.453 – is the duty cycle for PWM modulation, which is equal to the ratio of the minimum battery voltage of 24.5 V to the maximum input voltage to the charge controller of 54 V; F = 20 kHz – is the PWM modulation frequency; I – is the permissible current ripple level, assumed to be 10% of the battery charging current, or 16 A.

The calculated inductance value of 23.85 μH is the minimum inductance value, and for reliable operation of the converter, it is necessary to use an inductance value twice that value. Therefore, we select the inductance value of 47 μH for inductor L1.

Capacitors C9 = 10 mF are connected in parallel with the batteries to filter out interference when switching the output power MOSFET transistors. The switching frequency of transistors VT4, VT5, and VT6 is 20 kHz.

The composite output stage, consisting of high-power MOSFET transistors, must switch a 160 A pulsed battery charging current. The maximum voltage at the charge controller input is 95 V. Therefore, p-type MOSFET transistors DH100P70 with an allowable drain-source voltage of 100 V and an allowable drain current of 75 A were selected for the composite stage.

To determine the nominal value of capacitance C9, we select an LC filter cutoff frequency half the switching frequency of the output transistors, equal to 10 kHz.

Then the nominal value of capacitance C9 is determined from the expression:

µF,

Where FFCF = 10 kHz – is the LC filter cutoff frequency; L = 47 µH – is the inductance of inductor L1.

Using the E24 series, we select a C9 value of 5.1 µF.

The negative current and voltage feedback circuits are calculated as follows.

The negative current feedback signal is generated across resistor R23 and fed through resistor R15 to input 3 of the UC3842 PWM controller (see Fig. 2).

Input 3 of the PWM controller is connected to the inverting input of the UC3842 current comparator, and a threshold voltage of 1 V is generated at the non-inverting input of the current comparator, against which the negative current feedback signal is compared (see Fig. 2).

The current comparator's response threshold at input 3 will be limited by an internal threshold voltage of 1.0 V. Therefore, with a total battery capacity of 800 A/h, the maximum charging current will be 20% of 800 A, or 160 A.

Then, the negative feedback resistance for the charging current, R23, will be (see Fig. 1):

Ом,

Where: R23 is the negative feedback resistance for the charging current; UTVV.COMP. is the threshold voltage of the UC3842 current comparator, equal to 1 V; IMAX is the maximum battery charging current, equal to 160 A.

For ease of charging current adjustment during system setup, the resistance value of R23 is selected to be twice as large as R23 = 0.01 Ohm, so that the calculated value of 6.25 x 10-3 Ohm is at the midpoint of the potentiometer's value.

The voltage divider of the negative feedback circuit, R4-R5, is connected to the positive terminal of the batteries. For noise immunity, the current of the voltage divider of the negative feedback circuit, R4-R5, is selected to be at least 1 mA. Then, with a minimum battery voltage of 24 V, the maximum total resistance of the voltage divider, R4-R5, will be:

k Om,

Where UB – is the minimum battery voltage; IR4-5 –  is the voltage divider value.

We select the voltage divider values ​​R4 = 16 kOhm and R5 = 5 k Om.

The output voltage of the UC3842 PWM controller is 13.5 V with a maximum permissible output current of 1 A. The output signal of the UC3842 PWM controller is fed through resistor R21 to the base of the matching transistor VT3.

Transistor VT3 operates at a maximum collector voltage of 95 V and a collector current of 50 mA.

VT3 selects the PBHV8115 transistor, which has the following characteristics:

- collector-emitter voltage of 150 V;

- collector current of 1 A;

– minimum current gain of 50 at a collector current of 50 mA and 20 mA at a collector current of 0.5 A.

With a maximum collector current of transistor VT3 of 50 mA, the base current IBVT3 can be determined from the expression:

IBVT3=ICVT3β=0.0550=0.001 A,

Where IBVT3 – is the base current of transistor VT3; ICVT3 – is the collector current of transistor VT3; β – is the minimum current gain.

A current of 1 mA is sufficient to turn on transistor VT3, but a boost mode with a base current reserve is required to generate the required edges when opening and closing the transistor.

To ensure reliable closing of transistor VT3, resistor R21 with a nominal value of 120 ohms is installed between the base and emitter. The value of resistor R21 is specified during system setup.

Current flows to the base of transistor VT3 from the PWM controller output through resistor R18. Part of the current from the PWM controller output is subtracted from the base current of VT3 and goes to ground through resistor R21. With a voltage between the base and emitter of VT3 of 0.8 V, the current through resistor R21 can be determined from the expression:

A,

Where UBEVT3 – is the voltage between the base and emitter of VT3 in the on-state.

The saturation coefficient of transistor VT3 is selected experimentally during system setup. In this particular case, taking into account the leakage current through resistor R21, the base current of transistor VT3 is set to 6 mA. Therefore, the value of resistor R18, which limits the output current of the PWM controller to 6 mA, is determined from the expression:

kOhm,

Where UOUT – is the PWM controller output voltage; UBEVT3 – is the voltage between the base and emitter of VT3 in the on-state; IBVT3  – is the base current of transistor VT3; IR21 – is the current of resistor R21.

From the E24 series, we select resistor R18 =1 k Om.

Diode VD2, connected between the base and emitter, is included for noise immunity of transistor VT3.

The driver stage, built around transistors VT1 and VT2, must switch currents of up to 1 A to recharge the input capacitances of output MOSFET transistors VT4–VT6.

Transistors VT1 and VT2 operate at a maximum collector voltage of 95 V and a maximum current of 1 A. Therefore, for the driver stage, we select a complementary pair of transistors VT1 – PBHV8215Z, VT2 – PBHV9215Z.

VT1 and VT2 have the following characteristics:

– Collector-emitter voltage of 150 V;

– Collector current of 2 A;

– Minimum current gain of 80 at a collector current of 1 A and 55 at a collector current of 2 A.

At a collector current of 1 A, the base current of transistors VT1 and VT2 is found from the expression:

A,

Where IBVT1-VT2 – is the base current of transistors VT1 and VT2; ICVT1-VT2 – is the collector current of transistors VT1 and VT2; β – is the minimum current gain.

Knowing the base current of transistors VT1 and VT2, we can determine the values ​​of resistances R19 and R20. The total resistance of R19 and R20 is determined from the expression:

kOhm,

Where R19-20 is the total resistance of resistors R19 and R20; UOUT.MIN  is the minimum voltage at the charge controller input, equal to 30 V; IBVT1-VT2  is the base current of transistors VT1 and VT2.

Therefore, each of the resistances R19 and R20 will be equal to 820 ohms.

Resistance R22 (51 ohms) is designed to limit the current through transistors VT1 and VT2.

Diode VD3 is designed to protect the output transistors from over voltages that occur when the current through inductor L1 is interrupted.

Source Е3 in the circuit simulates the batteries. Resistance R24 is the load resistance of the charge controller.

Battery overcharge protection is controlled by a comparator built on operational amplifiers U2A and U2B. The reference voltage for the comparator is fed to the non-inverting input of operational amplifier U2A from 1N5235 (VD1). The value of the current-setting resistor R6 of zener diode VD1 is determined from the expression:

ohm,

Where ЕSV – is the comparator supply voltage of 20 V; USV – is the nominal stabilization voltage of the 1N5235 zener diode (VD1); ISV – is the stabilization current of the 1N5235 zener diode (VD1);

From the E24 series, we select a resistor value of R6 = 1.3 kOhm.

The recharge voltage is fed to the comparator input from the battery output through voltage divider R1-R3 and resistor R8 to the inverting input of operational amplifier U2A. The voltage divider current is selected to be 1 mA at a minimum battery voltage of 24 V. Therefore, the total resistance of the voltage divider is:

kOhm,

Where UMIN is the minimum battery voltage; IR1-3 is the voltage divider current.

Based on the total resistance of the voltage divider, we select the values ​​of resistors R1, R3, and potentiometer R2.

R1 =15 k Om; R2=3 k Om; R3=4,3 kOhm.

The required hysteresis for noise immunity of the comparator is determined by the ratio of resistances R7 and R11.

The value of capacitor С2 is selected during system setup for noise immunity.

In this circuit, operational amplifier U2В is used as an inverting stage to match the input signal of the PWM controller. The ratio of negative feedback resistors R14 and R17 limits the gain of operational amplifier U2В to 20.

If charging the batteries causes the battery voltage to rise to 28 V, battery overcharge control comparator U2, via resistor R16 and optocoupler U1, will generate a signal to stop generating the pulse-width modulated pulses, and the charge controller will stop sending the gate pulses to transistors VT1–VT6. This generates a signal to disconnect the rectifier from the charge controller input and a signal to activate the ballast resistors.

In addition to monitoring battery overcharge, a necessary battery protection function is monitoring for unacceptable battery discharge when the battery voltage reaches 24.5 V.

The discharge voltage of 24.5 V is controlled by the under-discharge control comparator (see Fig. 3).

The battery voltage signal is taken from the voltage divider R3 –R4 – R5 and fed through resistor R8 to the inverting input of operational amplifier U1А. The hysteresis value for the comparator's noise immunity is set by the ratio of resistors R7 – R9. Voltage divider R1 – R2 in the comparator's mode simulation circuit simulates the battery voltage. The comparator's hysteresis is calculated so that when the battery voltage drops to 24.5 V, the comparator signals the battery disconnection from the load. When the batteries charge to 27 V, the load is reconnected. In the comparator's power section, resistor R17 simulates the winding of a power relay. Similar to the comparator for monitoring the unacceptable discharge of the battery, comparators for monitoring and protecting the wind turbine during a storm wind of 25 m/sec and at an unacceptable high voltage at the output of the 3-phase rectifier are constructed (see Fig. 4).

FIGURE 3. Comparator for protecting batteries from unacceptable discharge

When the emergency protection is triggered, the output of the 3-phase rectifier is disconnected from the input of the charge controller and connected to the ballast resistors, which, in accordance with the value of the output voltage of the 3-phase rectifier, connect the ballast resistors of the corresponding power.

CONCLUSIONS

1. Addressing alternative energy issues is a pressing issue today and creates new opportunities for wind energy development in Kyrgyzstan.

2. The relevance of developing alternative energy in Kyrgyzstan is also driven by the growing shortage of traditional energy sources.

3. An analysis of existing small-capacity wind turbines in Kyrgyzstan showed that wind energy development is promising and cost-effective.

4. Despite the fact that small-capacity vertical-axis wind turbines have lower wind energy utilization rates, the development of vertical-axis wind turbines in Kyrgyzstan is a promising direction due to their simple design and lower maintenance costs.

REFERENCES

1. Karatayev A.T., Isomidin kyzy K. Development of Technologies for the Use of Solar and Wind Power Plants. Bulletin of the Osh Technological University. 2023. No. 4. pp. 18-24.

2. Priority Areas of Energy Development in the Agro-Industrial Complex. A Collection of Articles Based on the Materials of the III All-Russian (National) Scientific and Practical Conference / 2019.

3. Current Issues in Energy in the Agro-Industrial Complex. Materials of the All-Russian Scientific and Practical Conference with International Participation / Blagoveshchensk, 2020.

4. Khakimov I.S., Miller M.V., Novikov V.F. Vertical-Axis Wind Power Plant for the Agro-Industrial Complex. Innovations in Agriculture. 2016. No. 5 (20). pp. 265-269.

5. Mokin B.I., Mokin A.B., Zhukov A.A. On the issue of choosing wind engines and electric generators of wind power stations. Bulletin of the Vinnytsia Polytechnic Institute. 2007. No. 6 (75). pp. 52-62.

6. Popova I.G., Kravtsov V.B., Kamelina E.S., Grebenyuk I.A. Study of the experience of using wind generatorsYoung researcher of the Don. 2021. No. 1 (28). pp. 2-9.

7. Kvitko A.V., Grigorash O.V., Popov A.Yu., Ivanovsky O.Ya., Tuaev A.S. Wind power stations. Krasnodar, 2017.

8. Goryunov O.A., Nazarova Yu.A. Prospects for Using Wind Turbines to Provide Power to Gas Industry Facilities in the Far North. Oil and Gas Territory. 2015. No. 12. pp. 146-150.

9. Kvitko AV, Azaryan AA. Design Features of Wind Power Stations. Krasnodar, 2022.

10. Afanasyeva NA, Dudnik VV, Gaponov VL. Study of the Operating Efficiency of a Small Wind Turbine under Yawing Conditions. Innovations in Agriculture. 2017. No. 2 (23). pp. 139-148.

11. Bugrova P.A., Goncharov N.A., Enbom A.I. Development of a Hybrid Battery Charge Controller for Powering Low-Power Consumers. Innovative, Information and Communication Technologies. 2019. No. 1. P. 378-382.

12. Kobersi I.S., Firov N.A., Sakhno D.A. Development of a charge-discharge controller for wind energy systems. Bulletin of SFedU. Engineering sciences. 2013. No. 2