Application of the Phase-shifting Properties of                       Electro-ferromagnetic Circuits with Power Thyristors

Ikromjon Rahmonov, Abdulhay Rasulov, Mirjalol Ruzinazarov a),                           Gulrukh Sultanova

Tashkent state technical university named after Islam Karimov, Tashkent, Uzbekistan

a) Corresponding author: ruzinzarov88@bk.ru

Abstract. The article examines issues related to the application of electro-ferromagnetic oscillatory circuits for controlling the state of triode thyristors in alternating current systems, where synchronization of the control signal with the mains frequency is required. The control signal is taken from the ferromagnetic element by means of an additional control winding. By varying the turn-on moment of the triode thyristor, it is possible to regulate the average value of the load current over a period from zero to its maximum. Based on a two-core electro-ferromagnetic circuit, it makes it possible to create a phase-shifting device for phase control of thyristors.

INTRODUCTION

Application of electro-ferromagnetic oscillatory circuits for controlling the state of triode thyristors in alternating current circuits where synchronization of the control signal with the mains frequency is required. The control signal is taken from the ferromagnetic element by means of an additional control winding. By varying the turn-on moment of the triode thyristor, it is possible to regulate the average value of the load current over a period from zero to the maximum. The combined use of electro-ferromagnetic circuits and thyristors makes it possible to create sensitive contactless AC relays, various frequency converters, and regulating and stabilizing devices, which are characterized by high reliability, simple design, reduced size and weight, noiseless operation, high gain, fast response, ease of maintenance, and increased efficiency. At the same time, for phase control of thyristors, it is proposed to use electro-ferromagnetic circuits that have a wide negative region in their amplitude and phase characteristics [1-15].

The quality and reliability of thyristor devices largely depend on the rational choice of the control circuit. One of the important components of the control system for triode thyristors is the phase-shifting device. It is proposed to use a two-core electroferromagnetic circuit as such an element, which can simultaneously serve as an input device.

The phase converter circuit consists of two identical three-winding transformers (Fig.1).

FIGURE 1. Two-core electroferromagnetic circuit

The windings W1=W2=W are connected in series-according to and powered by the sinusoidal source u1=U1msinωt. Windings W3=W4=W, connected in series-opposition, are powered by another sinusoidal source u2=U2msin⁡(ωt+ψ2). With this type of connection, there is no mutual connection between the primary and secondary circuits. We study the nature of the voltage phase change at the terminals of windings W5=W6=W depending on the ratio of the amplitudes U1m and U2m and the value of the phase ψ2. Neglecting losses in the ferromagnetic elements and disregarding the nonlinearity of the magnetization curve, we have the following circuit equations:

u1=WdФ1dt+WdФ2dt						(1)

u2=WdФ1dt+WdФ2dt						(2)

or                                                                  2WdФ1dt=u1+u2;     2WdФ2dt=u1-u2.

Considering that we have WdФ1dt=u3 and WdФ2dt=u4.

u3=12u1+u2							(3)

u4=12u1-u2							(4)

Knowing the law of variation of the source voltages, we obtain:

U3msinωt+ψ3=12U1msinωt+U2msinωt+ψ2		(5)

U4msinωt+ψu=12U1msinωt-U2msinωt+ψ2		(6)

Here, ψ3 and ψ4 are the initial voltage phases on the output windings. From (5) and (6), after introducing dimensionless quantities and some transformations, we have:

2X3mcosψ3=jX1m+X2mcosψ2					(7)

2X2mcosψ3=X2mcosψ2						(8)

or                                                                  tgψ3=X2msinψ2X1m+X2mcosψ2					            (9)

X3m=12X1m2+X2m2+2X1mX2mcosψ2		(10)

Likewise

tgψ4=X2msinψ2X1m-X2mcosψ2		(11)

X4m=12X1m2+X2m2+2X1mX2mcosψ2		(12)

Where                                                        X1m=U1mUδ;     X2m=U2mUδ.

For the case when ψ2=π2, we have.

tgψ3=X2mX1m;       tgψ4=X2mX1m;		(13)

X4m=12X1m2+X2m2		(14)

Based on the latest expressions, we will construct the dependencies ψ3=fX2m, ψ4=fX2m, X3m=fX2m, when X1m=I (Fig.2).

| a) | b) |
| --- | --- |
| c) | d) |
| FIGURE 2. Dependencies a)ψ3=fX2m, c)ψ4=fX2m, b)X3m=fX2m, d)X1m=I |  |

As can be seen from the figures, the values of ψ3 and ψ4 vary from zero to 630, while X2m deviates from zero to 2. If   ψ2=π6,   that:

tgψ3=0,5X2mX1m+0,866X2m		(15)

tgψ4=0,5X2mX1m+0,866X2m		(16)

X3m=12X1m2+X2m2+2X1mX2m∙1,73		(17)

X4m=12X1m2+X2m2+2X1mX2m∙1,73		(18)

As can be seen from Fig. 2, in this case a wider range of phase ψ4 variation is observed. Here we considered the phase relationships for a fixed value of ψ2, obtained when the primary and secondary windings are powered from different phases of a three-phase voltage system.

Thus, the considered circuit can serve as a phase-shifting device, distinguished from known ones by the absence of a resistive element, the relative simplicity of the electrical circuit, the sinusoidal nature of the output voltage, and the lack of moving parts.

Phase shifting can be achieved using a two-core electroferromagnetic circuit when the oppositely connected secondary windings are short-circuited through a capacitor. At the same time, there is no need for a reference voltage, which was provided for in the circuit considered in the previous paragraph. In addition, the possibility arises to change the voltage phase on ferromagnetic elements over a wide range of applied voltage magnitudes. This property of the circuit is currently used to create single-phase to three-phase and single-phase to two-phase phase converters.

As shown by the studies of several authors, when creating various thyristor stabilizing devices, a certain law for changing the phase of the control signal is required, depending on the variation of the load resistance and the magnitude of the input voltage. These requirements can be met by the nature of the voltage phase change at the terminals of the ferromagnetic element of a two-core electro-ferromagnetic resonant circuit, constructed with a coupling reactive element between the primary and secondary circuits. Figure 3 shows a diagram of a two-core electroferromagnetic circuit with capacitive coupling between the primary and secondary circuits. Here, R is a constant active resistance that accounts for losses in the electro-ferromagnetic circuit.

| FIGURE 3. Two-core electro-ferromagnetic oscillatory circuits with capacitive coupling between the primary and secondary circuits | FIGURE 4. Asymmetrical circuit of two-core electro-ferromagnetic resonant circuits |
| --- | --- |

The equation of the oscillatory circuit, consisting of a capacitance and the secondary windings of ferromagnetic elements, has the following form:

Wd2Ф1dt2-Wd2Ф2dt2-icC=0				  (19)

When formulating the equilibrium equation, the identity of the ferromagnetic elements was taken into account. By approximating the magnetization curve of the cores with a power function, we obtain:

i1W+i2W=KФ1n					(20)

i1W+i2W=KФ2n					(21)

icb=i1+i2+ic

ir=WdRdt=Ф1Ф2					(22)

Wd2Ф1dt2+Wd2Ф2dt2=icbCcb+icC

ic=CC+CcbCcbWd2Ф1dt2+CcbWd2Ф2dt2-WdRdtФ1Ф2-K2WФ1nФ2n		(23)

From (19) and taking into account (23), we obtain.

d2Ф1dt2-γd2Ф2dt2+K2W2CФ1n-Ф2n+1RCddtФ1-Ф2=0			(24)

where

γ=C+2CcbC						(25)

We introduce the following dimensionless parameters:

x1=Ф1Фδ;    x2=Ф2Фδ;    τ=ωt;					(26)

δ=1RωC;      Фδ=n-12ω2WCAK

From (24), we obtain:

d2x1dt2-γd2x2dt2+1Ax1n-x2n+δddtx1-x2=0			(27)

To solve equation (27), we use the method of accounting for the fundamental harmonic. We assume that:

X1=X1msinτ;     x=X2msin⁡(τ+φ)				(28)

Then

xn=X1mnAsinτ-Asin3τ+Bsin5τ-Csin7τ+…		(29)

x2n=X2mnAsinτ+φ-Asin3τ+3φ-Bsin5τ+5φ+…		(30)

Substituting (28), (29), and (30) into (27) for the fundamental harmonic of the magnetic flux, we obtain:

-X1msinτ+γX2msinτ+φ+X1mnsinτ-X2mnτ+φ+δX1m

cosτ-δX2mcosτ-δX2mcosτ+φ=0

After separating the sine and cosine components, we obtain:

a=bcosφ+X2msinφ

X1m=-bsinφ+X2mcos⁡φ				(31)

where

a=1δX1m-X1mn					(32)

b=1δγX2m-X2mn					(33)

From the system of equations, we have:

a2+X1m2=b2+X2m2					(34)

tgφ=aX2m-bX1mX1mX2m+ab					(35)

Considering that

u=WdФ1dt+WdФ2dt

We can write

y=dx1dτ+dx2dt

where

y=uuδ;     u=Wωфδ					(36)

By substituting (28) into (36) and assuming y=Ymsinτ+ψ, after some transformations, we obtain:

Ym=X1m+X2mcosφ2+X2m2sin2φ

tgφ=X2msinφX1m+X2mcosφ					(37)

b=f(X2m)

To solve the system of equations (31), the previously proposed graphical method can be used. We plot the dependencies a=f(X1m) and b=f(X2m) (Fig.5), using the values of X1m and X2m. The value of angle φ is determined by the angle between two rays drawn through the points of intersection of the circle with curves a=f(X1m) and b=f(X2m). Based on the graphical construction, the values of the other desired quantities Um, ψ1 and ψ2 can be determined, which respectively characterize the applied voltage, the phase of the first ferromagnetic element, and the phase of the second ferromagnetic element.

FIGURE 5. Dependencies a=f(X1m) and b=f(X2m)

Figures 6 and 7 show the nature of the changes in the magnetic fluxes of the ferromagnetic elements depending on the applied voltage. The initial parts of the characteristics correspond to the combination of points of segments OA1, OA2 of curves a=f(X1m) and b=f(X2m) in Fig.5. On the characteristics X1m=f(Ym) and X2m=f(Ym), the segment 1-2 corresponds to the combination of points from the segments OA1 and OA2; the segment 2-3 corresponds to the combination of points from the segments OA1 and B1C1; the segment 4-5 corresponds to the combination of points from the segments C1C11 and A21B2; and the segment 5-6 corresponds to the combination of points from the segments C1C11 and B2C2.

| FIGURE 6. Dependencies X1m=f(Ym) | FIGURE 7. Dependencies X2m=f(Ym) |
| --- | --- |

Figure 8 shows the nature of the changes in the phases of the magnetic fluxes of the ferromagnetic elements depending on the applied voltage, when autoparametric oscillations at the fundamental harmonic are excited in the system.

| a) | b) |
| --- | --- |
| FIGURE 8. Dependencies a)Ψ=f(Уm); b)Ψ2=f(Уm) |  |

CONCLUSIONS

From these curves, it can be seen that in the system excitation zone, there is a wide range of variation of Ψ1 and Ψ2 when the input voltage deviates. In this voltage interval, the angle changes within the range from zero to 1500. This feature of the circuit can be utilized in the creation of a single-phase to three-phase converter and a phase-shifting device in the control circuit of triode thyristors.

REFERENCES

1. T.M.Kadyrov. Electro-ferromagnetic circuits with a wide falling section on amplitude and phase characteristics. Izvestiya VUZov. Elektromekhanika, (1988), pp.145-149.

2. T.M.Kadyrov. Application of autoparametric circuits for thyristor control. In Electromagnetic and Semiconductor Automation Devices, Collection of Scientific Works, Tashkent, (1984), pp.9-15.

3. T.M.Kadyrov, and E.G.Usmanov. Application of autoparametric circuits for control of thyristor frequency converters. Collection of Scientific Works of TashPI, Tashkent, (1991), pp.12-17.

4. A.N.Rasulov, and T.M.Kadyrov. Electro-ferromagnetic circuits in stabilization and regulation modes, Monograph, Tashkent, (2014), p.199.

5. Ruzinazarov M.R. Current source converter into stabilized voltage source based on electromagnetic ferromagnetic circuit // E3S Web of Conferences 384. 2023. РР, 01050, 1-5. https://doi.org/10.1051/e3sconf/202338401050

6. Rasulov A.N., Ruzinazarov M.R. Electrical load graphs and indicators // E3S Web of Conferences 384. 2023. РР, 01042, 1-4. https://doi.org/10.1051/e3sconf/202338401042.

7. A.Nuraliyev, I.Jalolov, M.Peysenov, A.Adxamov, S.Rismukhamedov, R.Karimov. Improving and Increasing the Efficiency of the Industrial Gas Waste Cleaning Electrical Filter Device. AIP Conference Proceedings, 3331(1), 040040, (2025), https://doi.org/10.1063/5.0305751

8. M.Sadullaev, E.Usmanov, R.Karimov, D.Xushvaktov, N.Tairova, A.Yusubaliev. Development of Contactless Device Schemes for Automatic Control of the Power of a Capacitor Battery. AIP Conference Proceedings, 3331(1), 040042, (2025), https://doi.org/10.1063/5.0305879

9. M.Sadullaev, E.Usmanov, R.Karimov, D.Xushvaktov, N.Tairova, A.Yusubaliev. Review of Literature Sources and Internet Materials on Contactless Devices for Reactive Power Compensation. AIP Conference Proceedings, 3331(1), 040041, (2025), https://doi.org/10.1063/5.0305878

10. M.Sadullaev, M.Bobojanov, R.Karimov, D.Xushvaktov, Y.Shoyimov, H.Achilov. Experimental Studies of Contactless Devices for Controlling the Power of Capacitor Batteries. AIP Conference Proceedings, 3331(1), 040044, (2025), https://doi.org/10.1063/5.0307195

11. E.Usmanov, M.Bobojanov, R.Karimov, D.Xalmanov, N.Tairova, S.Torayev. Contactless Switching Devices Using Nonlinear Circuits. AIP Conference Proceedings, 3331(1), 040031, (2025), https://doi.org/10.1063/5.0305744

12. E.Abduraimov, M.Peysenov, N.Tairova. Development of Contactless Device for Maintaining the Rated Voltage of Power Supply Systems. AIP Conference Proceedings, 2552, 040012, (2022). https://doi.org/10.1063/5.0116235

13. E.Abduraimov. Automatic control of reactive power compensation using a solid state voltage relays. Journal of Physics Conference Series, 2373(7), 072009, (2022). DOI 10.1088/1742-6596/2373/7/072009

14. E.Abduraimov, D.Khalmanov. Invention of a contactless voltage relay with an adjustable reset ratio. Journal of Physics Conference Series, 2373(7), 072010, (2022). DOI 10.1088/1742-6596/2373/7/072010

15. E.Abduraimov, D.Khalmanov, B.Nurmatov, M.Peysenov, N.Toirova. Analysis of dynamic circuits of contactless switching devices. Journal of Physics Conference Series, 2094(2), 022072, (2021). DOI 10.1088/1742-6596/2094/2/022072